# IUPAC Task Group on Atmospheric Chemical Kinetic Data Evaluation – Data Sheet PBr16

Website: http://iupac.pole-ether.fr. See website for latest evaluated data. Data sheets can be downloaded for personal use only and must not be retransmitted or disseminated either electronically or in hardcopy without explicit written permission.

This data sheet updated: 15th December 2000.

CH2Br2 + h  products

# Primary photochemical processes

| Reaction | H/kJ mol-1 | threshold/nm |
| --- | --- | --- |
| CH2Br2 + h  CH2Br + Br | 292 | 410 |

# Absorption cross-section data

| Wavelength range/nm | Reference | Comments |
| --- | --- | --- |
| 200-300 | Molina, Molina, and Rowland, 19821 | (a) |
| 174-290 | Gillotay, Simon, and Dierickx, 19882 | (b) |
| 215-300 | Mössinger, Shallcross, and Cox, 19983 | (c) |

Quantum yield data

No experimental data are available.

# Comments

(a)	The cross-sections were measured using a double beam spectrophotometer equipped with 10 cm and 180 cm cells.  Pressures in the range 8-52 mbar were used.

(b)	Spectra were obtained using a thermostatted absorption cell with a single pass optical path of 2 m coupled to a monochromator capable of a maximum resolution of 0.015 nm.  Pressures of CH2Br2 used covered the range 5 x 10-2 – 47 mbar.  Spectra were recorded at 295 K, 270 K, 250 K, 230 K, and 210 K.

(c)	Spectra were obtained using a thermostatted absorption cell of optical path length 100 cm coupled to a double beam optical system giving a resolution of ~ 0.6 nm.  Pressures used were in the range 0.13-53 mbar. Absorption measurements were made at 348 K, 328 K, 298 K, 273 K, and 250 K.  At each wavelength the temperature dependence of the cross-sections was expressed as ln T = ln 298 K + B(T – 298) and values of B were derived.

Preferred Values

Absorption cross-sections of CH2Br2 at 298 K and 210 K.

| /nm | 1020 /cm2 | /nm | 1020 /cm2 |
| --- | --- | --- | --- |
|  | 298 K | 210 K |  | 298 K | 210 K |
| 200 | 226 | 223 | 255 | 14.1 | 8.51 |
| 205 | 215 | 206 | 260 | 6.61 | 3.38 |
| 210 | 235 | 240 | 265 | 3.03 | 1.34 |
| 215 | 263 | 325 | 270 | 1.34 | 0.506 |
| 220 | 272 | 356 | 275 | 0.514 | 0.199 |
| 225 | 247 | 318 | 280 | 0.255 | 0.0773 |
| 230 | 196 | 239 | 285 | 0.114 | 0.0324 |
| 235 | 139 | 154 | 290 | 0.0499 | 0.0140 |
| 240 | 88.6 | 86.1 | 295 | 0.0165 | 0.0049 |
| 245 | 51.9 | 43.6 | 300 | 0.006 | 0.0013 |
| 250 | 28.0 | 19.7 |  |  |  |

## Comments on Preferred Values

The preferred values for the absorption cross-sections at 298 K are the means of the values reported by Molina et al.,1 Gillotay et al.2 and Mössinger et al.3  The agreement among the three studies1-3 over the wavelength range of the preferred values is excellent. The temperature dependence of  over the range 210-295 K has been studied by Gillotay et al.2 and over the range 250-348 K by Mössinger et al.3  The results agree well in the region where they overlap and both find that  increases with decreasing temperature at the absorption band maximum (219 nm) but shows a decrease with temperature decrease in the long wavelength tail of the spectrum.  The preferred values at 210 K are those of Gillotay et al.2 which are in very good agreement with the values calculated from the expression and temperature coefficients of Mössinger et al.,3 based on their measurements in the range 250-348 K.

There are no quantum yield measurements but photolysis is expected to occur with unit quantum efficiency by C-Br bond rupture.

# References

1	L. T. Molina, M. J. Molina, and F. S. Rowland, J. Phys. Chem. 86, 2672 (1982).

2	D. Gillotay, P.C. Simon, and L. Dierickx, Aeron. Acta 35, 1 (1988).

3	J. C. Mössinger, D. E. Shallcross, and R. A. Cox, J. Chem. Soc. Faraday Trans. 94, 1391 (1998).