# IUPAC Task Group on Atmospheric Chemical Kinetic Data Evaluation – Data Sheet III.A2.51 iClOx36

Data sheets can be downloaded for personal use only and must not be re-transmitted or disseminated either electronically or in hard copy without explicit written permission. The citation for this data sheet is: IUPAC Task Group on Atmospheric Chemical Kinetic Data Evaluation, (http://iupac.pole-ether.fr).

This data sheet last evaluated March 2005.

Cl2O2 + M  ClO + ClO + M

H° = 75.7 kJ·mol-1

Low-pressure rate coefficients

Rate coefficient data

| k0/cm3 molecule-1 s-1 | Temp./K | Reference | Technique/ Comments |
| --- | --- | --- | --- |
| Absolute Rate Coefficients |  |  |  |
| 9.81 x 10-7 exp[-(7980 ± 320)/T] [N2] | 260-310 | Nickolaisen, Friedl and Sander, 1994 | FP-UVA (a) |
| 2.30 x 10-18 [N2] | 298 |  |  |

# Comments

(a)	Photolysis of Cl2 at  >300 nm in the presence of Cl2O.  ClO radicals were monitored with an optical multichannel analyzer at 270 nm to 280 nm.  The pressure range used was 33 mbar to 400 mbar. Dissociation rate coefficients and equilibrium constants determined from analysis of two stages of ClO decay. From a third-law analysis, a value of H° = (75.7 ± 0.9) kJ mol-1 was derived. A value of the equilibrium constant KC = (1.24  0.18) x 10-27exp{8820/T} cm3 molecule-1 was obtained in good agreement with a determination by Cox and Hayman (1988).

# Preferred Values

k0 = 2.3 x 10-18 [N2] s-1 at 298 K.

k0 = 3.7 x 10-7 exp(-7690/T) [N2] s-1 over the temperature range 260-310 K.

Reliability

log k0 = ± 0.3 at 298 K.

(E/R) = ± 900 K.

Comments on Preferred Values

The preferred values are based on the preferred values for the reverse reaction and the equilibrium constant from Nickolaisen et al. (1994) which agrees very well with the results of Cox and Hayman (1988).

High-pressure rate coefficients

Rate coefficient data

| k/cm3 molecule-1 s-1 | Temp./K | Reference | Technique/ Comments |
| --- | --- | --- | --- |
| Absolute Rate Coefficients |  |  |  |
| 4.8 x 1015 exp(-8820/T) | 260-310 | Nickolaisen, Friedl and Sander, 1994 | FP-UVA (a) |
| 6.7 x 102 | 298 |  |  |

# Comments

(a)	See comment (a) for k0.  Falloff curve constructed with Fc = 0.6.

# Preferred Values

k = 1.1 x 103 s-1 at 298 K.

k = 1.8 x 1014 exp(-7690/T) s-1 over the temperature range 260-310 K.

Reliability

log k = ± 0.3.

(E/R) = ± 500 K.

Comments on Preferred Values

The preferred values are based on the preferred values for the reverse reaction and the equilibrium constant from Nickolaisen et al. (1994). Falloff curves are constructed with Fc = 0.45 like for the reverse reaction. One should keep in mind, however, that only data at P < 1 bar are represented. There is ample evidence that the reaction is governed by a superposition of the energy transfer and the radical-complex mechanism such that the chosen simple representation of the falloff curve does not apply rigorously.

The following text-line combines the preferred values for the high and low pressure limiting rate coefficients to generate a single, cut-and-paste expression for calculation of k:

=((3.7e-7*exp(-7690/T))*M*(1.8e14*exp(-7690/T)))/((3.7e-7*exp(-7690/T))*M+(1.8e14*exp(-7690/T)))*10^(log10(0.45)/(1+(log10((3.7e-7*exp(-7690/T))*M/(1.8e14*exp(-7690/T)))/(0.75-1.27*log10(0.45)))^2))

The molecular density, M = 7.2431021P(bar)/T(K)

# References

Cox, R. A. and Hayman, G. D.: Nature, 332, 796, 1988.

Nickolaisen, S. L., Friedl, R. R. and Sander, S. P.: J. Phys. Chem., 98, 155, 1994.